CSI Format Specification for KOTO™ railings

Part 1 - General:

  - Section Includes

Pre-engineered KOTO™ stainless steel Railing System. All drawings, general and

supplementary conditions including division one specifications apply to this section.

  - Related Sections

Division 5 - 05710: Ornamental Handrails and Railings

1.3	Product References and Design Requirements

1.3.1    Principle items specified in this section are:

a.         Stainless steel and Stainless/wood combination handrails.

b.         Stainless steel and steel guardrails or other ornamental barrier railings.

c.	Stainless steel cables and cable hardware.

1.3.2	Design requirements are based on IBC/IRC and ADA standards:

a.  Guardrails and handrails shall meet or exceed all applicable building codes.

b.  Railings including top rail, end posts, mid posts, cable and cable hardware shall be designed to comply with structural requirements of the building code requirements with an appropriate safety margin.

c.  Railing and cable hardware shall be designed to withstand loads encountered without excessive deflection or distortion when cables are tensioned to required amounts to conform to building codes.

d.  Prevent galvanic action and other forms of corrosion by insulating metals and other materials from direct contact with incompatible materials.

1.3.3	Work Included

Provide all materials, labor and equipment necessary to fabricate and completely install 		handrails, guardrails, infill panels, and other railing options as shows on drawings or 			specific herin.

1.3.4	Definitions

Terms and definitions from ASTM E985 and ISO/TC 59 for railing related items apply to this section.

1.4	System Performance Requirements

1.4.1	Railings shall meet or exceed the requirements of all applicable building codes.

1.4.2	Railings shall have high strength stainless steel in order to comply with 1.41 with 			adequate safety margin.

  - Submittals

    - Shop Drawings for architectural approval, showing design and details of railing plus 	anchoring methods of handrails and railings including plans, elevations, sections, details 	of components and attachments to other units of work.

    - Product data for stainless steel/wood products to be supplied by the manufacturer 	including storage and handling requirements and installation methods.

    - Structural computations or test data/evaluations, material properties, PE (professional 	engineering) calculations signed/sealed in the State of the project, and other information 	needed to ensure satisfactory structural compliance to applicable building codes to be 	supplied by the manufacture, based on final fabrication drawings and documents.

    - Maintenance instructions: Provide manufacturer‘s maintenance and cleaning 	instructions.

    - Warranty: Provide manufacturer‘s warranty effective from completion of work.

    - Initial selection

Provide sample of railing including post material, top rail and cables demonstrating 		attachment hardware and method of attachment.

    - Final verification

Qualification data for authorized installers specified in Quality Assurance is to 	demonstrate their capabilities and experience. Include list of completed projects with 	project and architect names.

  - Quality Assurance

    - Single Source Responsibility: To ensure compatability all Materials and related components shall shall be supplied by a single source, HDI Railing Systems, 3905 Continental Drive, Columbia PA 17512 (Tel: 717-285-4088 Fax 717-285-5083).

www.hdirailings.com Regionally based Sales Managers available.

    - Execution tolerance plus/minus 5/64” (2 mm).

  - Storage

1.7.1    Store handrails and railing systems in clean, dry location, away from uncured concrete 			and masonry, protected against damage of any kind.

1.7.2	Materials must be kept in original packing until installation.

1.7.3	Materials to be stored at not lower than -40°C (-104°F) or higher than 100°C (212°F).

1.8       Project Conditions

1.8.1	All measurements for handrails and railings should be taken from construction site 			elements to which railings are to fasten. This information to be recorded on final shop 			drawings.

1.8.2	Coordinate fabrication schedule with construction progress to avoid delay of work

Part 2 - Product:

  - Manufacturer

2.1.1.	KOTO Stainless steel cable railing systems

Manufacturer shall be HDI Railing Systems, an established U.S. manufacturer of a 			custom pre-engineered guardrail and handrail systems, in strict compliance with all 			technical requirements of the drawings and specifications. Miscellaneous metal 				fabricators/suppliers will not be acceptable. This standard is based on HDI Railing 			Systems, 3905 Continental Drive, Columbia PA 17512 (Tel. 717.285.4088 Fax. 				717.285.5083).

2.1.2	Substitutions:  Not permitted.

2.2       Materials for Guardrails and Handrail System

    - All rails and other tubular components shall be constructed using the following:

2.2.1.1 Stainless steel grade UNS 1.4305, type 304; surface to be 240 grain/grit finish; 			tubes 1-1/2” (38mm) outside diameter by 5/64” (2 mm) wall thickness.

      - Top rail to be Stainless steel grade AISI, type 304, surface to be 240 grain/grit 	finish;  bar 3” (76mm) by 1/2”  (13mm).

      - Optional natural wood handrails and top rails are connected to stainless 			steel true bar for both attached handrails and top rail. Standard wood types are 			available in natural beech, birch or maple, other wood types available upon 			request. All custom stains are subject to customer approval and require customer 		samples. Stainless steel true bar to be inserted into the underside of the wood as 		a structural element; wood is slotted to receive the true bar. Transitions for top 			rail to be mitered with hairline joints.

    - All posts and other components shall be constructed using the following:

2.2.2.1   Stainless steel grade UNS 1.4305, type 304, surface to be 240 grain/grit finish; 		end posts 3” (76mm) by 1” (25mm) and mid-posts 3” (76mm) by 1/2” (13mm).

2.2.2.2    Stainless steel grade UNS 1.4305, type 304, surface to be 240 grain/grit finish 			for: Handrail attachment on the post.

      - Stainless steel grade UNS 1.4305, type 304, surface to be blasted matte finish 	for post fastening base plate and angles.

    - Fastening bolts to be stainless steel or other high strength material as determined by 	engineering requirements.

    - Exterior and aggressive environments require stainless steel grade 316 or 316L to 	minimize maintenance requirement; surface to be 240 grain/grit (#6) finish.

2.3       Stainless steel cable rails and cable hardware

Stainless steel, type 316,  wire rope provided by HDI Railing Systems. 3/16" (5mm) diameter 	stranded wire with stainless steel thread adjusters and end stops.

2.3.1	Cables

2.3.1.1   Material:  6 x 7 Type 316 stainless steel strand

2.3.1.2   Diameter: 3/16 inch (5 mm) diameter cable with a minimum breaking strength 				 of 13KN (2,923 pounds)

2.3.1.3   Finish: mill

- ** NOTE TO SPECIFIER ** Select orientation.  Delete three of the following four paragraphs.

2.3.1.4   Orientation:  As indicated on the Contract Drawings

- ** NOTE TO SPECIFIER **  Select spacing requirement.  Delete one of the next two paragraphs.

2.3.1.5   Spacing:  As indicated on the Contract Drawings (max. 3-1/8” - 79mm)

2.3.2   Cable Hardware Components

2.3.2.1   Material:  Stainless steel, AISI 316L; Swaged hardware at end of cable

2.3.2.2   Hardware concealed inside end posts where practical

2.3.2.3   To comply with HDI Railing Systems’ design criteria

2.3.2.4   Types of Fittings: Radius head internal thread adjuster; External thread

swaged end

2.4	Fasteners

Anchors shall be fabricated from stainless steel or other materials as determined by engineering requirements with capability to sustain, without failure, load imposed within a safety factor of 4, as determined by testing per ASTM E488.

2.5    	  Fabrication

2.11.1  Fabricate railing system for compliance with structural requirements of applicable code.

2.11.2  Pre-assemble railings prior to shipping to greatest extent possible to minimize field 			splicing  and assembly.  Disassemble units only as necessary for shipping and handling 		limitations. Clearly mark units for re-assembly and for coordination with shop drawings.

2.11.3  Stainless steel tubing cuts shall be square, without burrs and where exposed, rounded 			to produce smooth rigid and hairline joints.

Part 3 – Execution:

3.1       Examination

3.1.1	Do not begin installation until substrates have been properly prepared.

3.1.2	Verify that reinforcement and anchoring devices are the correct type, have been located correctly, and have been installed properly.

3.1.3	If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

3.2	Preparation

Provide information on fastening point locations for posts where necessary to relevant parties.

3.3	Installation

Installation shall be by HDI Railing Systems or a qualified, authorized representative of the manufacturer. HDI Railing Systems, 3905 Continental Drive, Columbia PA 17512 (Tel: 717-285-4088 Fax 717-285-5083).

    - Installation must be in accordance with standard or non-standard, yet applicable details

(instructions) included on installation/shop drawings provided by HDI Railing Systems.

3.3.2	Install components plumb and in-line, accurately fitted, free from distortion or defects and securely anchored to structure.

3.3.3	Provide anchors, plates, angles, etc., necessary for connecting railings to structure.

3.3.4 	Any and all field welding shall be by a certified welder.

3.3.5	Access for anchors that require through bolting either vertically or horizontally to be made available through General Contractor.

Erection tolerances

    - Maximum variation from plumb shall be 1/4".

    - Maximum offset from true alignment for every 50-foot of railing shall be 1/4", non-	accumulative.

3.4	Cleaning and Protection

    - Remove manufacturer's protective coverings from exposed surfaces after installation.

    - Railings shall be cleaned, including infill panels, by contractor to the satisfaction of the 	owner..

    - Wipe with moistened cloth only.  Do not use cleaning agents with abrasive or 	acid/alkaline content.

    - General contractor to provide protective covering on handrails and guardrails if 	construction is not yet finished in the area where the railings are installed.

    - Railings shall be cleaned, including infill panels, by contractor to the satisfaction of the 	owner.

    - Wipe with moistened cloth only.  Do not use cleaning agents with abrasive or 	acid/alkaline content.

  - Correction of deficiencies

All deficiencies in work and/or items not meeting specified requirements shall be corrected in

order to meet specification requirements at no additional cost to owner.

End of Section