CSI Format Specification for Optik Smoke Baffle

Part 1 - General:

  - Section Includes

a.	Pre-engineered Optik Smoke Baffle, glass and stainless steel and aluminum draft curtain system. All drawings, general and supplementary conditions including division one specifications apply to this section.

  - Related Sections

- Division 5:  057300: Ornamental Handrails and Railings.

1.3	References and Design Requirements

1.3.1    ANSI Z97.1 – Safety Glazing Material used in Buildings

  - Submittals

    - Shop Drawings for architectural approval, showing fabrication and installation of Smoke Baffle including plans, elevations, sections, details of components and attachments to other units of work.

    - Manufacturers product data including materials dimensions, finishes, hardware for attachment of glass and fasteners for attachment to structure.

    - Structural computations or test data/evaluations, material properties, PE (professional engineering) calculations signed/sealed in the State of the project, and other information needed to ensure satisfactory structural compliance to applicable building codes to be supplied by the manufacture, based on final fabrication drawings and documents.

    - Maintenance instructions: Provide manufacturer‘s maintenance and cleaning instructions.

    - Warranty: Provide manufacturer‘s warranty effective from completion of work.

    - Final verification

Qualification data for authorized installers specified in Quality Assurance is to demonstrate their capabilities and experience. Include list of completed projects with project and architect names.

  - Quality Assurance

    - Single Source Responsibility: Materials shall be supplied by HDI Railing Systems, 3905 Continental Drive, Columbia PA 17512 (Tel: 717-285-4088 Fax 717-285-5083).

    - Execution tolerance plus/minus 5/64” (2 mm).

  - Storage

    - Store materials in clean, dry location, away from uncured concrete and masonry, protected against damage of any kind.

1.6.2    Materials must be kept in original packing until installation.

1.8     Project Conditions

1.8.1	All measurements for Smoke Baffle should be taken from construction site

elements to which railings are to fasten. This information to be recorded on final shop

drawings.

1.8.2	Coordinate fabrication schedule with construction progress to avoid delay of work

Part 2 - Product:

  - Manufacturer

    - Manufacturer: Shall be HDI Railing Systems, a U.S. manufacturer of a custom pre-engineered, mechanically fastened railing, guardrail and handrail systems, in strict compliance with all technical requirements of the drawings and specifications. Miscellaneous metal fabricators/suppliers will not be acceptable. This standard is based on HDI Railing Systems, 3905 Continental Drive, Columbia PA 17512. Tel. 717.285.4088 Fax. 717.285.5083. Email info@hdirailings.com

    - Basis of Design: Drawings and Specification are based HDI Railing Systems, Optik Smoke Baffle System. Any substitutions must be made and approved a minimum of 4 weeks prior to the project bid date and in compliance with 2.1.3 (below). Failure to provide substitution request will result in rejection.

    - Substitutions: Compliance with section 01 6200 is required

- Submit Structural computations or test data/evaluations, material properties, PE (professional engineering) calculations signed/sealed in the State of the project, and other information needed to ensure satisfactory structural compliance to applicable building codes

- Samples of each type of fitting and finish

2.2       Materials:   Optik Smoke Baffle System

2.2.1	Pre-Engineered Smoke baffle system shall be constructed using the following:

a.	Base Channel extruded aluminum 6063 1-9/16“ (40mm) by 2-13/16“ (71mm).

b. 	Base Channel cladding to be Stainless steel grade UNS 1.4305, type 304;finish to be brushed finish or as otherwise specified.

c. 	Optik Smoke Baffle alignment clamps, if required, with inserts to isolate glass from metals.

d. 	Glass to be 3/8“ or ½“ tempered glass clear or color tint as specified in section 2.3.

1.	Bronze, Gray, or other as indicated

2.	Low iron

3.	Custom pattern, art glass, etch, edges or surface, laminate or embeds, as 		specified herein.

e. 	Powder coated finish to be as specified herin.

2.2.2	Fastening for Optik Smoke Baffle System to be as specified in Glass products section (2.4) base to be Aluminum alloy 6063 - T52.

    - Fastening bolts to be stainless steel or other high strength material as determined by engineering requirements.

    - Neoprene gasket material to be used at all through bolt connections to ensure seperation between metal and glass.

2.3       Glass products, glazing and infill materials.

    - Tempered glass:  Provide fully tempered safety glass with polished edges and dubbed 	(blunt) corners complying with ASTM C1048.  Kind FT (fully tempered), condition A 	(un-coated).  Types 1 (transparent glass, flat), quality Q3 (glazing select), class, 	thickness and manufacturing process as indicated below.

2.3.2	Clear glass: Class 1 clear

2.3.3	Tinted glass: Class 2 (tinted heat absorbing and light reducing). Manufacturer’s 			standard tint color indicated below:

a.	Bronze, Gray, or other as indicated

b.	Low iron

c.	Custom pattern, art glass, etch, edges or surface, laminate or embeds, as 		specified herein.

    - Allowable thickness either:

2.3.4.1	   3/8“ thick glass panels shall be fully tempered and noted on final shop drawings,   unless local code requires laminated glass.

2.3.4.2    ½ “ thick glass panels shall be fully tempered and noted on final shop drawings,   unless local code requires laminated glass

2.3.5	Manufacturing process: Manufacture fully tempered glass by horizontal (roller hearth) 		process with roll wave distortion parallel with bottom edge of glass as installed.

    - Optik Smoke Baffle System to be designed for compliance with appropriate 			building codes. Structural computations showing material properties and other 			information needed to ensure satisfactory structural compliance to applicable building 		codes to be supplied by the manufacturer – based on final fabrication drawings and 		documents, anchoring type, spacing and glass thickness.

2.5	Fasteners

Types and sizes indicated in shop drawings.

2.6    	Fabrication

2.6.1	Fabricate Optik Smoke Baffle system for compliance with structural requirements of applicable code.

2.6.2		Pre-assemble railings prior to shipping to greatest extent possible to ensure QC.

Disassemble units and pack as appropriate for shipping and handling requirements.  Clearly mark crates and boxes for re-assembly by location and for coordination with shop drawings.

2.6.3   	Stainless steel cladding cuts shall be square and without burrs to produce smooth rigid and hairline joints.

Part 3 – Execution:

3.1       Examination

3.1.1	Do not begin installation until substrates have been properly prepared.

3.1.2	Verify that reinforcement and anchoring devices are the correct type, have been 		located correctly, and have been installed properly.

3.1.3	If substrate preparation is the responsibility of another installer, notify Architect of 		unsatisfactory preparation before proceeding.

3.2	Preparation

Provide information on fastening point locations for anchors or posts where necessary to 	relevant parties.

  - Installation

Installation shall be by HDI Railing Systems or a qualified, authorized representative of the manufacturer. HDI Railing Systems, 3905 Continental Drive, Columbia PA 17512. Tel: 717-285-4088 Fax 717-285-5083.

    - Installation must be in accordance with standard or non-standard, yet applicable details (instructions) included on installation/shop drawings provided by HDI Railing Systems.

3.3.2	Install components plumb and in-line, accurately fitted, free from distortion or defects 		and securely anchored to structure.

3.3.3	All anchor plates, angles, supporting steel etc., necessary for connecting Optik Smoke Baffle to structure to be provided by another trade and coordinated with the supplier of Optik Smoke Baffle.

3.3.4 	Any and all field welding shall be by a certified welder.

3.3.5	Access for anchors that require through bolting either vertically or horizontally to be made available through General Contractor.

Erection tolerances

    - Maximum variation from plumb shall be 1/4".

    - Maximum offset from true alignment for every 50-foot of railing shall be 1/4", non-	accumulative.

3.4	Cleaning and Protection

    - Remove manufacturer's protective coverings from exposed surfaces after installation.

    - Optik Smoke Baffle shall be cleaned, including infill panels, by contractor.

    - Wipe with moistened cloth only.  Do not use cleaning agents with abrasive or acid/alkaline content.

    - General General contractor to provide protective covering for Optik Smoke Baffle if construction is not yet finished in the area where the railings are installed

  - Correction of deficiencies

All deficiencies in work and/or items not meeting specified requirements shall be corrected in

order to meet specification requirements at no additional cost to owner.

End of Section